INTRODUCTION TO WIND PUMPS

Ir. J. de Jongh and Ir. P.T. Smulders

ARRAKIS

Contents

1	State of the art	5

2	Applications	5

3	Wind pumping in relation to other pumping options	6

4	Technology and Technology Assessment	8

5	Performance	14

6	Economy	16

7	Future developments, R&D and plans	17

References	17

# State of the art

Wind pumps are windmills which drive pumps mechanically to pump water. There are about 100 wind pump manufacturers in the world. The longest established manufacturers in the traditional countries USA, Australia, South Africa, Spain and France, still produce first generation wind pumps, which were developed from around 1850 onwards. The home market is however gradually declining. At present about 1000.000 are still in operation, mainly in Argentina, Australia, USA and South Africa.

Over the last 5 years about 5 - 8.000 wind pumps are produced per year worldwide. About 20% of this production has taken place in developing countries. The predominant wind pump type produced in the developing countries is the second generation wind pump, which were developed after 1973, but low cost wind pumps are made in many countries as well.

# Applications

There are many potential applications for wind pumps. The niche for wind pumps is water supply from 20 m4 to 2000 m4 (see Chapter 5 for an explication of the unit m4). The corresponding rotor diameters range from 1 to 7.5 meters. (see Fig. 1) [2].

The merits of a wind pump  can  be viewed as serving a multitude of users against low energy inputs. For instance a 3 m diameter windpump can supply 30 m3 water per day (average per year) at a  pumping head of 10 m with a very moderate average wind speed of 3.5 m/s. This will serve a village with 750 people (with WHO norm of 40 l/d per capita) the average power delivered being only 34 Watts. As an example (with some simplifications), it can be said that the 300 wind pumps installed in Kenya deliver water for the equivalent supply of about 200,000 people, in remote areas, therewith contributing to a better quality of life.

Table 1 shows the market segments found, with different applications and corresponding user categories [1]. Table 1 gives an overview of typical daily water requirements for various applications [2].

1

Fig. 1   The wind pumping niche versus other pumping technologies

Table 1   Various water requirements

Category Typical water use

- schools  day schools 15 - 30 l/day per pupil  boarding schools 90 - 140 l/day per pupil - hospitals (with laundry) 220 - 300 l/day per bed - hostels 80 - 120 l/day per res. - restaurants 65 - 90 l/day per seat - mosques 25 - 40 l/day per visitor - cinema houses 10 - 15 l/day per seat - offices 25 - 40 l/day per cap. - railway and bus stations 15 - 20 l/day per user - livestock  cattle 25 - 35 l/day per head  horses and mules 20 - 25 l/day per head  sheep and goat 15 - 25 l/day per head  pigs 10 - 15 l/day per head - poultry  chicken 15 - 25 l/day per 100

# Wind pumping in relation to other pumping options

Looking at the niches for the various pumping options (Fig. 1) one sees that at the lower end of the scale hand pumps are the obvious solution and are used up to 100 m4/day. But examples are known where wind pumps are used for requirements down to 20 m4/day (domestic water and some gardening) e.g. Curaçao and Philippines. The range of mechanical wind pumps is limited by rotor size, from about 1 to 7.5 m diameter. At larger power demands it is more convenient and economical to generate electricity which can be used to drive a motor/pump combination. These are indicated as WEPS, i.e. Wind Electric Pumping Systems. Especially at sites with high wind speeds (  5 m/s), they are attractive from diameters of 3 m and up.

Engine driven pumps are uneconomical at very low requirements, also due to the fact that diesel pumps are not made for power ratings below 2 kW. With the modular character of solar panels, solar pumping can be used from very small scale to very large requirements. There is no limit as with mechanical wind pumps: the electricity produced can drive small or large pumps.

Table 2   Wind pump market segments, worldwide

| Application | Users | Countries | Comments |
| --- | --- | --- | --- |
| Large cattle Farms | Wealthy farmers | Worldwide | Established markets for 1st generation wind pumps. |
| Irrigation | Farmers, usually with a few ha. | Worldwide | For high value crops. Low cost and second generation wind pumps are best. |
| Agro-forestry/ Afforestation | Innovators and Wealthy farmers | Cape Verde, India | Very small market at present. 2nd generation and low cost wind pumps best suited. |
| Low Head | Individuals Communal | Thailand,Vietnam,China | For salt pans, shrimp/fish raising. Low cost designs used, some attempts with second generation designs. |
| Homesteads and Small Farms | Farmers and rural families | Worldwide | Often mixed domestic, livestock and irrigation. 1st and 2nd generation best suited. |
| Domestic Water for Community Use | Villages, Small communities around missions, hospitals. | Worldwide | Social/institutional implications. Often externally funded. 1st and 2nd generation best suited. |
| Nomadic Livestock | Nomadic peoples | Colombia, Kenya, Sahel | Use for people and animals. Environmental/social effects are important. 1st generation preferred. |
| Community Agriculture | Small groups in rural areas | Sahel | Cultivation of high nutritious vegetables for own in village use. 2nd generation wind pumps suited. |

Manufacturers in developing countries

In developing countries the manufacturing companies are small and lack finance as well as the necessary technical and marketing skills. Many wind pump models in production are unsuitable for the market segment presently served, while the manufacturer is not aware of more suitable models available elsewhere in the world. Most manufacturers therefore have only small established markets with sales of less than 100 per year. The models in production often need to be developed further. This is mostly done by trial and error.

The basic needs of the manufacturers are; first and foremost capital, second the establishment of networks and bases to support maintenance activities and sales; third assistance for the selection and development of wind pumps; and fourth technical assistance to improve production engineering and quality control.

# Technology and Technology Assessment

Transmission

A first distinction can be made as regards the type of transmission:

1.	Mechanical wind pumps having a mechanical transmission

a) 	Driving piston pumps, the most common type of wind pump, about one million still in use today.

b) Driving rotary pumps e.g. centrifugal or screw pump. The "Bosman" wind pump is an example of the first and is used in the Netherlands for drainage (about 1000 installations). The FDG-5 is an example of the second type and has been developed in China for pumping sea water for prawn culture. The number of installations is very limited so far.

2.	Wind Electric Pumping Systems (WEPS) with an electric transmission mostly used in combination with centrifugal pumps. Applications at the moment are few, but potential is probably high.

3.	Wind pumps with a pneumatic or hydraulic transmission. They can be useful for remote pumping similar to WEPS. Air lift pumps are used, despite their low efficiencies, in far away places as they virtually do not need any maintenance down hole (e.g. northern Brazil) [3].

Pump

A second distinction can be made with respect to the type of pump that is driven by the rotor. The two main classes are:

- Displacement pumps. The piston pump is the most common. However the Archimedes screwpump which in the past was used for drainage in the Netherlands in combination with wind power has now also been introduced in China for very low lift (< 3 m), large volume flow applications.

If well designed these pumps have efficiencies of about 70% and do not exhibit starting problems as piston pumps do. Another pump which has witnessed a fantastic revival as a hand pump e.g. in Nicaragua where more than 5000 have been sold with no subsidies involved, is the rope and washer pump. This pump is now being used there in combination with a windmill. About 30 are now in the field and experience is very favourable, especially price-wise. The pump is efficient, does not have starting problems, does not constitute a dynamic load as piston pumps do, and is very easy and cheap to maintain although this may be necessary every half year.

2.	Rotodynamic pumps of which the centrifugal is the most important. Their use with a mechanical transmission is restricted to low heads.

Level of technology

A third distinction which is also made reflects the level of technology of the wind pump (see Figures 2 and 3) [1].

The wind pump product family can be split up in three basic types:

- First generation, classical, multiblade, American type, wind pumps with the smaller sizes incorporating a back-gearing transmission. These machines have a low tipspeed ratio often less than 1.

Its strong points are: they are highly reliable, long life time (over 20 years), little and easy  maintenance.

Its weak points are: heavy weight, high investment cost, complicated installation.

- Second generation, modern lightweight wind pumps which have been developed in the last 20 years. Gearboxes are omitted, many have fewer rotor blades and run faster with tip speed ratios up to 2.

Its strong points are: light weight, easier to produce, more applications and cost effective.

Its weak points are: often not so reliable yet, technology often not fully mature, fast running models limited to low head pumping.

The main components of the two generations, i.e. the rotor, the transmission, the safety mechanism etc. show quite some differences, see fig 2 [4].

- Low cost, artisanal wind pumps, a simple design, locally produced with simple tools, from local cheap materials. Both tip speed ratio and efficiencies are low.

Its strong points are: low initial costs, resources locally available, user is highly involved.

Its weak points are: much maintenance is required, short life times, unit water costs are high. Fig. 2 gives an example.

For an overview of wind pumps available worldwide, see Table 3 [1].

1First generation wind pumps;

Australian southern cross wind pump

2Low cost wind pumps;

The Thai bamboo-mat wind pump

2

Second generation wind pumps;

The CWD 2000 (left), KIJITO (middle) and FDG-5 (right)

Fig. 2   Various wind pump types

3

Fig. 3   Components of mechanical wind mills

Table 3   Leading wind pump types available in the world

3

Table 3  Leading wind pump types available in the world  (Continuation)

4

# Performance

Water demand and hydraulic power

The required water output has to be given by the end-user [in m3/s]. With the total pumping head given in [m] the required power can be calculated.

The power that is required to pump a certain amount of water per second over a certain height is called the hydraulic power. It is given by:

in which:

Phydr = ρ  g  H  ⋅q		(1)

Phydr

is the average hydraulic power (Watts)

 is the density of water (1000 kg/m3)

g is the acceleration of gravity (9.8 m/s2)

qH is pumping height (m) and

H  ⋅q     is average flow rate (m3/s).

The product             is a direct measure of power requirement and can be expressed in m4 per unit of time. A nett hydraulic power output of 1 Watt (continuous) is equivalent to 8.64 m4/day. And 1 kWh hydraulic is equivalent to 367 m4. The requirements shown in Table 2 lie in the range of 10 -1000 m4/day, equivalent to average hydraulic power outputs of a few Watts to just over a hundred Watts. These requirements are small explaining that they are not well met using diesel pumps of a few kilowatts power rating!

Wind pump output

The average hydraulic power output of a wind pump (at sea level) is given by:

vin which:

Phydr = β  v  3Arotor   		(2)

is the average wind speed at the site, which is a crucial factor, since it is the most important parameter determining the power. It should be measured over the pumping season only. This value should be estimated as accurately as possible, preferably based on measured data of nearby wind measurement stations.

Arotor is swept rotor area with the diameter as the determining value,

 is a quality factor expressing the effectiveness with which the particular wind pump converts wind power to nett hydraulic power over a longer period. Normally values of  range from 0.05 to 0.12, the first being acceptable, the second value being excellent. The value  = 0.1 can be regarded as an average value for a well-designed wind pump.

By combining the two formulas (1) and (2), (taking the value 0.1 for the quality factor), the following Wind Pump Sizing Monogram can be made, see Fig. 4 [5]. It can be used to calculate the water output from a given wind pump, or vice versa, with the required water output and given wind speed, the rotordiameter can be calculated.

4

Fig. 4   Wind pump sizing monogram

# Economy

Costs

Cost prices of wind pumps vary considerably. They depend largely on labour costs and productivity rates of the country (or region) involved. In Asia the labour costs are very low thus resulting in very low prices of wind pumps. In Africa, labour costs are still lower than Europe, but productivity is also lower, resulting in rather high prices. The following table 3 indicates some of the differences found.

Nevertheless, unit water costs for some of the second generation wind pumps are one of the cheapest, compared with those by other pumping means, such as diesel pumps and PV pumps.

Therefore, wind pumps can be considered as a really viable option for water supply.

Table 3 indicates a number of cases, where second generation wind pumps were successfully introduced. The unit water costs being the least cost option was one of the reasons for the success [6].

Table 3   Macro-economic Annualized Life Cycle Costs (ALCC) of some successful

cases of wind pump applications

| Manufacturer and country | Type | Rotor diameter [m] | Capital inv. costs wind pump only [US$] | Capital inv. costs per m2 rotor area [US$/m2] | Typical output [m4/day] | ALCC [US$/m4] see notes |
| --- | --- | --- | --- | --- | --- | --- |
| INDIA |  |  |  |  |  |  |
| AUTOPARES | DW3OOG 1st generation copy | 3 | 1428 | 202 | 277 | 0.0031 |
| AUREKA | AV55 2nd generation | 5.5 | 1800 | 76 | 1028 | 0.0010 |
| KENYA |  |  |  |  |  |  |
| BHEL | KIJITO 2nd generation | 6.10 | 9.900 | 339 | 1236 | 0.0040 |

Notes:

1) Investment costs include:			2) project life is 20 years

- wind pump						3) Output for an average wind speed

- storage tank ($ 800)		    	     of 4 m/s

- installation						4) discount value 10%

The cost for the well are excluded

The costs per cubic meter pumped are obtained by multiplying the last column with the total pumping head (in meters) e.g. for Kijito:

H = 10 m       costs 	0.004 x 10 = $ 0.04/m3

H = 20 m       costs 	0.004 x 20 = $ 0.08/m3

Policies

Growing sales of modern designs in some countries make it clear that wind pump markets can be developed. The following points underline this point:

-	the need for clean water is growing,

-	wind pumping can compete economically with motor pumps and PV pumps,

-	potential new or larger markets have been identified,

-	the need for new indigenous industries with job creation is growing,

-	the growing positive attitude towards environmentally friendly technologies,

-	the wind resource is often adequate despite poor or misleading data.

A number of governments of developing countries have taken up the policy of implementation of wind pumps, such as India, Philippines and Niger.

Implementation of small scale autonomous energy devices, to a multitude of users over a widespread area, is however a complicated and often highly underestimated task, of which the limited successes in e.g. woodstoves, hand pumps, PV systems etc. testify.

# Future developments, R&D and plans

Especially the manufacturers of second generation wind pumps are still working on improvement of their concepts. A handful is doing R&D sometimes backed up by an international agency, or by Universities. Improvements are still possible, both conceptual as well as in reducing manufacturing costs and improving reliability. A target of investment costs of less than US$ 100/m2 swept rotorarea for reliable second generation wind pumps is possible for a number of developing countries. This figure should be compared to investment costs of approximately $ 400/m2 (installed) for traditional wind pumps.

Some International Agencies, such as CIDA, DGIS and ODA are supporting implementation programmes albeit on a small scale.

# References

[1]	Windpumps in Developing Countries: a view of the markets, Halcrow Gilbert Associates, UK, Oct. 1993.

[2]	Wind Water Pumping: the forgotten option, P.T. Smulders, BWEA/RAL Workshop - "Technology and Implementation Issues Related to Renewable Energy Systems in Developing Countries", June 1995, proceeding published by RAL, UK.

[3]	Windpumps, a Guide for Development Workers, E. Barlow et al, IT Power, UK, 1993.

[4]	Wind Pumping; a Handbook, J. van Meel and P.T. Smulders, World Bank Technical Paper No.101, 1989.

[5]	Solar Pumping; an Introduction for Development Workers, IT Power, 1993.

[6]	Markets for Windpumps in Development Countries, R. Hacker (HGA) and J.A. de Jongh (RED), paper presented at the ISES World Solar Congress "In Search for the Sun", Harare, Sept. 1995.