Baptist Drilling manual

SHIPO version 10-08-08

Drilling a 27 m deep borehole at the SHIPO Smart tec centre Tanzania

Connect International & Arrakis

www.connectinternational.nl  ,  www.arrakis.nl  ,

August 2008

TABLE OF CONTENTS

Introduction ……………………………..Page  3

The technology …………………………. Page  4

Materials and tools ……………………   Page  4

Drilling step by step……………………..Page  5

Preparing , mounting the filter screen…Page  6

Backwashing …………………………….Page  6

Most common problems…………………Page  7

Drawings …………………………………Page 8, 9

# 1	Introduction

This manual is based on a publication by Terry Waller in 2003. It was adapted by Henk Holtslag of Connect International and Jan de Jongh of Arrakis, based on experiences in Tanzania, Zambia and Mozambique.  For more information see the site of Water for All www.geocities.com/h2oclubs , www.arrakis.nl or www.connectinternational.nl

The SHIPO version is adapted to available materials in Tanzania and fit to install Rope pumps in boreholes. Up to date some 50 boreholes have been made with this version.

With the Baptist method some 3000 wells have been drilled in Bolivia and other countries ranging from 20 - 70 m deep for the installation of Baptist or EMAS pumps.

Disclaimer

This manual is meant as a guideline for trainers and not as a learn-it-yourself book. Experience indicates that, to avoid inventing wheels and for good results, the manual has to be combined with hands on training by experienced trainers.

Henk Holtslag

Jan de Jongh

“Our goal is to make low cost drilling techniques a shared common knowledge in the culture.

Similar to the construction of a house of repairing a bicycle.

Water is too important to only be left in the hands of specialists. Too often specialists are not around when  needed or are to expensive.  To solve the water problem for poor rural people, they have to be empowered to get water for themselves, wherever possible.”

Based on the introduction by Terry Waller.

# 2	The technology

Context

Ground water exists between particles of either soil, sand, clay or rock and can be reached with hand dug or drilled wells. A manual drilling technique is the Baptist method which drills without a casing, a hole into the aquifer, the layer of sand, loam or gravel that is saturated with water.

Limits

This method is limited to non cemented, sedimentary deposits of sand and clay, and will not drill through solid bed rock. Some soft rock can be drilled slowly if manually drilled and faster if a motorised rig is used. The presence of stones (pebbles) bigger than 3 cm in diameter may cause problems. Required time per well is 1 - 8 days depending on depth and soil conditions and 4 - 8 people are needed.

How it works

The preparation of the drilling consists of installing a derrick and digging two settling pits and a start hole. The first drill pipe is a heavy steel pipe with a valve drill bit at the lower end. The borehole is made by percussion of the drill pipe with a rope and a pulley.  The required drilling fluid consists of water with bentonite, fine clay or organic matter such as cow dung.  The drill bit model and size depends on the type of soil.  In compact clay a smaller hole of 1.5 or 2 inch is drilled and later-on reamed up with a bit of 3 to 5 inch. As drilling proceeds 1.5 or 3 m lengths of pipe are added. The cuttings from the bottom are suspended in the drilling fluid and via the valve and the up and down movement discharged at surface into the left settling pit. The heavier particles settle in the left pit and the cleaner fluid enters via the right pit back into the borehole. In the settling pits one can see what type of material is being drilled through. The drilling fluid has 3 functions.

1. To seal off the bore hole to avoid loss of water.

2. To avoid collapsing.

3. To lift heavy particles as sand, gravel or small stones.

The bore hole should be kept completely full of fluid through entire drilling process. If permeable loose layers, such as sand, are encountered, clay or cow dung must be added. The drilling fluid must be heavy to maintain a higher pressure in the hole than the water pressure pushing in from the aquifer. If not, the hole will collapse with a probable loss of drilling tools. Use enough clay especially during learning. When the borehole is completed, it is backwashed, cleaned and a casing with a filter screen is installed. After making a hygienic seal the pump can be installed.

# Materials and tools needed (well of 30 m deep)

- 1 steel pipe    ¾”   	   length 3 m    for soil punch and  tools

- 1 steel pipe   1 ¼ "  length 6 m    wall thickness 2.5 - 3.2 mm.

- 1 steel pipes  1 ½’   length 6 m    wall thickness   2.5 mm.

- 1 steel pipe    2”       length 1 m    wall thickness 2.5 - 3.2 mm (for soil punch and drill bits)

- 1 round bar  12 mm length 3 m   for fishing tools

- 1 round bar     8 mm Length 1 meter For drill bit

- 6 plastic pipes 1 ¼"  (40mm) Wall Thickness 4 mm

(or PVC, or 2 mm steel pipes with thick walled threaded end)

- 20  sockets       1¼" sockets (inside thread).   Has to be welded so no cast steel

- 4   sockets      1 ½”

- 2   reducers    1 ½ to 1”

- 1  threading tool for 1 ¼” steel  pipes (can also be made from a socket)

- 2  bolts  M 12 x 90 or more  (For drill bit)

- 0.5 m of truck spring blade 10 mm thick

- 2 poles with a cross piece, length 4.5  meters,

- 3 poles of 3 metres to form a “derrick” and pole support.

- 40 Kg Bentonite, or 80 Kg of fine clay or 4 bags of cow dung. (Depending on soil)

- 3 drums of 200 litres for water storage. Depending soil conditions. Clay soils require little water.   Make sure not to use water contaminated with pesticides.

- 3 buckets of 20 litres to prepare drill fluid and add water.

- 20- 40 m of rope. 12 mm thick Length depends on well depths (part is used for fish tool).

- rope and rubber trips, cut from inner tube, to fix poles and “derrick”.

Tools

- An outlet handle (see drawing) Bend pipe or event a 1 ¼” galvanized elbow fitting.

- A pulley (type used to haul up buckets of cement or water in construction, 3 or 4"

diameter)

- 3 pipe wrenches (2 inch) and a water pump pliers (big enough for the couplings)

- 1 hacksaw, 1 steel brush,  1 flat file, 1 round file, a hoe, a spade

- A "soil punch" of   2 ” wide and 2.5 m long

- Fishing tools

- Eight people to pull rope and do the work. (less people can do it, but it will take more days)

- Good spirits, music, stories, refreshments, etc. optional - but the result is faster progress.

| Lifting the drill pipe with a rope and pulley | After the bit of 2 inch a Reamer bit can be used |
| --- | --- |

# 4	Drilling step by step.

- Before going to the site, inspect all tools and materials. Make sure threads on pipes are OK:

a protection socket on the thread, thick walled thread ends, weld grips on sockets and

pipe, rounded thread ends etc.

- Select the site minimum 30 meter from latrines.

- Install poles of 4.5 meters, in holes of 0.8 to 1 m deep at a distance of 2 meter and mount the derrick, (think of wind direction, wind in backside of the driller). Mount pulley and rope

- Make a start hole in middle between poles, Distance middle poles middle holes is 30 cm.

Use a "soil punch". Make the hole 1.5 metre or deeper if possible.

- Dig 2 settling pits in front of the poles. Size 70 x 70 cm and 25 cm deep. Use the soil to make a dike around the pits. (3 m diameter)

- Connect settling pits with a canal 15 cm deep and connect right settling pit with borehole with a canal of 10 cm deep.

- Prepare concentrated drill fluid by filling a bucket, 1/3rd height clay and 1/3rd height of water and stir well. Pour concentrated fluid in left settling pit and add water until the right mixture is reached and both pits and start hole are filled up.

- Mount the 3 meter lower drill pipe and drill bit in the hole and connect rope to handle

- Start drilling by jumping the drill pipe up and down with the rope, 1 stroke per 1.5 second.

- At all times, keep the settling pits and borehole filled with water. Add water if the water level in the hole goes down.

- If the hole is 3 m deep, add pipe of 1.5 meter. If hole is 4.5 m deep, take off the 1.5 meter   pipe and install a 3 meter pipe. Repeat until hole is deep enough

- To know the ground layers, keep a drilling log collecting every meter drill fluid from the outlet.

- Add clay or cow dung as soon as you notice loss of water in the hole

- Continue drilling 3 - 10 meters after the water bearing layer is reached, depending on type of aquifer.

Preparing / mounting filter screen

- Prepare the filter screen before the aquifer is reached!  Divide the circumference of a    casing pipe in 6 equal parts and cut slots every 12 mm in an angle of 45% with a hacksaw on 3 sides of the pipe. Watch out not to cut slots too long! Length of filter screen depends on type of aquifer and can be from 2 to10 meter.

- In case of very fine sand in the aquifer, mount a filter cloth around the cut part for example a fine woven wheat bag.

- Close bottom of the Filter screen, by making 6 slots, heating the end of the pipe over a fire and folding the end of the pipe.

- When installing the filter screen and casing, eventually water has to be added if the casing rises by buoyancy (caused by the mud clogging the filter screen). Lengths of casing are glued onto the top of the filter screen until the pipes reach the bottom. Tie the casing if it shoots up because of the mud that is being displaced.

- Normally the filter/screen is closed at the lower end. In very sandy soil the bottom end can be kept open to be able to use a bailer to further deepen the hole afterwards.

- Cut pipe at height of 0,4 meter above ground level.

- Backwashing Put a pipe of 1 meter on the casing and back wash the well pouring water (as clean as you can find easily) in the casing until water coming up around the casing is relatively clean. The drill fluid comes to surface until the fluid pressure in the hole decreases enough for the aquifer water pressure to cause sand to collapse around the filter. Also a hand piston pump can be used for backwashing, provided it can deliver pressure (e.g. an EMAS piston pump).

- Take off the 1 meter pipe

- Install a temporary  rope pump with rubber washers and pump till water clears up.

- The well can be developed and the filter screen cleaned by Swabbing

- This can be done by placing the pump and mounting a flap under the guidebox. Than    move the pump pipe up and down (on upstroke as fast as possible). A

- Another option is to make a swabbing tool with a cloth fixed to a pipe or round bar.)

- Pump until the water is relatively clean.

- Then the hand pump can be permanently installed. Wait for the cement to cure  before mounting the pump part or wheel.

- Be thankful for the water! Roast a goat and have a party!!!

Top view of the drill site

15

30

70 cm

70 cm

30 cm

15 cm

200 cm

A

A

15 cm

View A-A

25 cm

15 cm

# 5	The borehole

Casing

In case of using a rope pump the size of the casing depends on the depth of the water table (aquifer) at its lowest level.

- 0-10 m                4 inch casing    (Wall thickness 3 mm. Inside 104 mm ) Rope pump 1”

- 10-20 m              3 inch  casing   (Wall thickness 2.5 mm. Inside 85 mm ) Rope pump ¾”

- 20 m or deeper:  2 inch casing    (Wall thickness 2 mm. Inside 55 mm)      Rope pump ½”

To case and finish the well you will need;

- ……. meters of PVC pipe of 2, 3 or 4 inch.

- A filter screen 2  to 10 meter

- Good quality PVC Glue that dries up quickly.

- Gravel or course sand of 2 to 5 mm to make a gravel pack around the filter screen. (optional) The gravel pack is 0.5 meter above the top of the filter screen.

- Clay or cement to make a hygienic seal around the casing above the aquifer, to prevent dirt to get into the aquifer.

- A pump that fits into the casing.

- Cement and sand to make a well slab (apron) and soak pit.

6 Installation Pump

In case a rope pump is installed, these are the steps:

Define the position of the Soakpit, (downstream)

Mark a point 10 cm on the opposite side of the boreholes and draw a circle of 1,2 m or bigger if so desired

Make a ring of bricks or cement and mount the pump

Make sure the rope return is in line with the inlet pipe in the cover of the casing

Make sure there is 3-4 cm of cement under the pump base and the foundations is completely in the cement to avoid rusting of the base.

Finish slab (apron) and cover with plastic

Add water 3 x a day for 7 days!!!

In this period do not move the pump!! To avoid children moving the pump, loosen the bolts of the wheel and give these bolts to the pump care taker.

# Most common problems

Drilling does not advance

- Drilling fluid may be too thin.

- To test, fill up a bucket with the outflow of 3 strokes, leave for 20 seconds to see amount and type of settlings. If there are no settlings, add clay or cow dung

- Drill bit maybe be blunt,

- Check drill bit sharpen it.

- Drill hits gravel.

- Install open drill bit and drill by sludging

Drill hits hard layer

- Add a heavy steel drill pipe.  (A 1 ½” pipe welded around the 1 ¼” pipe)

- Use a stone drill bit.

Drill pipe breaks

- As soon as this happens use a fishing tool connected to a pipe or a rope

- An other options is to connect from the start a security cable, attached to a pin through the drill bit

Tips for fabrication

- Test different steel sockets and plastic / PVC sockets to get the best, strongest option.

- Plastic or PVC sockets should be mounted on threaded end as far as possible, preferably until the socket completely covers the thread.  To achieve this with plastic sockets, heat the sockets on one end and mount them on a thread end of a metal pipe.

- To achieve this with steel sockets make 8 cuts of 10 mm on both sides and mount the sockets on a threaded end of a steel pipe to open the socket

- In case 1 ¼ inch pipe is not available, the drill stem can also be made with 1 inch pipe

In that case the drill bit should be adjusted.

# 8	Drawings